## Slide 1: Different Reconstruction Techniques on Sinogram Image
Rohit Das
Advised By – Prof. Chiou-Shann Fuh
61047086s@ntnu.edu.tw
+886-0905023713

## Slide 2: Research progress
Filtered Back Projection (FBP)

## Slide 3: Filtered Back Projection
FBP also known as Filtered Back Projection is an image reconstruction method widely used in X-ray CT.
Most commonly used reconstruction technique in cone beam CT.
As the name suggests, we apply a filter for removing the halo noise and apply Backprojection algorithm.
Since it is a linear method, we can also use the filter after implementing Backprojection.

## Slide 4: Filtered Back Projection

## Slide 5: Steps of FBP
Original Image

## Slide 6: Steps of FBP
0
179
Sinogram
Create Sinogram using Radon Transform

## Slide 7: Steps of FBP
Forward Fourier Transform
Forward Fourier Transform for filtering the halo noise frequency

## Slide 8: Steps of FBP
After applying Hamming Filter
High pass filter for better contrast
  Hamming Filter
  Ham Filter
  Ram Filter
  Cosine Filter
  Shepp-Logan Filter

## Slide 9: Steps of FBP
Inverse Fourier Transform
Applying Inverse Fourier Transform to reconstruct back to original state

## Slide 10: Steps of FBP
Expected image after Backprojection
After Applying Backprojection algorithm

## Slide 11: Challenge: Backprojection
Like any problem, there is a challenge!
The challenge we face right now is implementing Backprojection algorithm.
The actual process of backprojection is difficult to understand and an overview even less so.
Very hard to trace the process.
Since it is a linear operation and the process is dynamic and needs no static value, there might be a chance of different results on different images.

## Slide 12: Challenge: Backprojection
Basic implementation for creating projection images

## Slide 13: Challenge: Backprojection

## Slide 14: Challenge: Backprojection
equal to the previous picture

## Slide 15: Challenge: Backprojection
Now there is a solution for implementing this algorithm efficiently:
= pixel co-ordinate
= Backprojection function

## Slide 16: Results
After implementing the equation in code:
Either it is opening up too much and there is too much loss of information.
Or it is using too less rotation to reconstruct it back.
Either way this is a wrong reconstruction
Result image after normalizing

## Slide 17: Results
After implementing the iterative way in code:
For some reason the algorithm is not backprojecting clearly. (Open to Suggestions)
Also we lose some information at the top and bottom row.
Result image after normalizing

## Slide 18: Results
After implementing the TRI code implemented previously by lab members:
Though edited we believe this code is more suited for circuit board images.
Result image after normalizing

## Slide 19: Conclusion
FBP though easy is very tricky to implement.
MART and ART are better than FBP in implementation.
Because we can provide some prior information before implementing ART/MART.
For these kinds of problems, it is better to reconstruct based on prior information rather than implementing FBP which is totally linear operation .
The only place we can interfere in FBP is the filter which is also limited.
Ram Filter is best for FBP and so does other high pass filters but we believe we cannot totally remove the halo noise even after Fourier Transform because of Central Slice Theorem.
Did we mention that the projection is non-iterative!
FBP: Filtered back Projection
MART: Multiplicative Algebraic Reconstruction Technique
ART: Algebraic reconstruction Technique

## Slide 20: Thank You!